## Slide 1: CHAPTER 2 Generalised Predictive Control 10 Using state space models
Anthony Rossiter

## Slide 2: Background
So far this chapter has looked solely at CARIMA models as was common in the early literature.
However, it is clear that CARIMA models do not extend well to the MIMO case, so one may wish to consider using state space models.
Unfortunately, one cannot simply replace one model with another as there are some subtleties linked to the need for unbiased predictions.
This video proposes one alternative, but remember MPC is a way of thinking – there is not a single algorithm so you are free to modify this to fit your own requirements.

## Slide 3: Base line assumptions
The first set of videos in the MPC series set out the foundations of a typical algorithm.
The use of unbiased predictions (open-loop for now), for example:
The use of an unbiased cost.
With CARIMA models, the cost was typically based on control increments.
With state space models, deviation variables are more common.

## Slide 4: Deviation variables
The reader is reminded that these are defined relative to an expected steady-state.
Implicitly, their values assume a best estimate of the system disturbance, and of course knowledge of the desired target.

## Slide 5: GPC – deviation prediction model
The predictions are given as:
The performance index is:
With deviation variables, a fixed future target is appropriate. We will not discuss changes to this assumption as it simply gives awkward algebra.

## Slide 6: Control law
Minimising with respect to the future control deviations gives:
Hence the proposed control trajectory is given as:
Taking just the first value.

## Slide 7: Control law
Finally, rewriting in terms of the actual state and input, one gets:
Equivalent to state feedback, but includes integral action due to the use of steady-state estimates.

## Slide 8: Closed-loop poles
As this takes the form of a simple state feedback, the closed-loop poles can be determined using:

## Slide 9: Summary
The algebra and pole computation are much simpler with state space models, especially for the MIMO case.
HOWEVER:
Assumes that one has a state estimate. The inclusion of an observer adds additional complexity and dynamics which are usually overlooked in introductory courses.
A poor state estimate could imply the predictions are misleading, hence the control law may be very poor during transients.

## Slide 10
© 2014 University of Sheffield
This work is licensed under the Creative Commons Attribution 2.0 UK: England & Wales Licence. To view a copy of this licence, visit http://creativecommons.org/licenses/by/2.0/uk/ or send a letter to: Creative Commons, 171 Second Street, Suite 300, San Francisco, California 94105, USA.
It should be noted that some of the materials contained within this resource are subject to third party rights and any copyright notices must remain with these materials in the event of reuse or repurposing.
If there are third party images within the resource please do not remove or alter any of the copyright notices or website details shown below the image.
(Please list details of the third party rights contained within this work.
If you include your institutions logo on the cover please include reference to the fact that it is a trade mark and all copyright in that image is reserved.)
Anthony Rossiter
Department of Automatic Control and Systems Engineering
University of Sheffield
www.shef.ac.uk/acse